## Slide 4: Bayesian Belief Network The beliefs are updated every time observations are introduced by the user

## Slide 5: Verification and Validation (V&V) process Every model must undergo a V&V process to verify it represents correctly the power plant

## Slide 6: Time discretization Every time a major parameter changes its trend, a new time step is introduced in the analysis

## Slide 7: Information loss RASTEP is designed to be robust even in scenarios involving information loss (e.g. sensor malfunction)

## Slide 8: Transients analyzed The results of each transient are compared to those obtained by JRC using MAAP v5.04

## Slide 9: Large Break LOCA

## Slide 10: Large Break LOCA RASTEP predicts the correct release category (LOCA basemat melt-through) 3.5 days ahead on time

## Slide 11: Station Black Out

## Slide 12: Station Black Out RASTEP predicts the correct first release (diffuse leakage) as well as the major release category (LOCA basemat melt-through) 3.5 days ahead on time

## Slide 13: Interfacing System LOCA

## Slide 14: Interfacing System LOCA RASTEP predicts a radioactive release from the auxiliary building 75 minutes before the actual release.

## Slide 15: Conclusions