## Slide 1: Uncertainty in External Hazard Probabilistic Risk Assessment (PRA): A Structured Taxonomy
Michelle Bensi (UMD) ● Somayeh Mohammadi (UMD) ● Nilanjana Ghosh (UMD)
Tao Liu (VCU) ● Camille Levine (UMD) ● Ahmad Al-Douri (UMD) ●
Ray Schneider (WEC) ● Zeyun Wu (VCU) ● Katrina Groth (UMD) ● Zhegang Ma (INL)
PSAM 2022
Honoulu, Hawaii

## Slide 2: Identifying and Prioritizing Sources of Uncertainty in External Hazard Probabilistic Risk Assessment

## Slide 3: Context and Motivation
PRA
[PSA]
Systematic process used to estimate the risks posed to or by a complex system
Provides insights that enable risk-informed decision-making
Enables focus on risk-significant aspects of facility operation
Uncertainty exists in all aspects of the operations of complex systems
Understanding and categorizing the sources contributing to that uncertainty enables the characterization, quantification, and (potential) reduction of uncertainty

## Slide 4: Taxonomies of Uncertainty
Uncertainty
Epistemic
Completeness
Parameter
Aleatory
Model
Epistemic
Uncertainty
Linguistic
Uncertainty
Probability
Complexity
Ambiguity
Model Error
Inherent
Uncertainty
Physical Variability
Ontological
Uncertainty
Epistemic
Uncertainty
Knowledge
Uncertainty
Regan, et al [9]
Dequech [15]
Vesely and Rasmuson [10]
NASA [20]
Han, et al [17]

## Slide 5: External Hazard PRA (XHPRA)
Hazard Analysis
Fragility Analysis
Plant Response (Systems) Analysis

## Slide 7
External Hazard(s)
Hazard Occurrence
(Phenomena/Mechanisms)
Severity
Timing/Temporal Progression
Spatial Distribution
Concurrent Conditions
External Hazard Assessment (Hazard Frequency)
Site-specific Hazard Impacts Analysis
Hazard Scenarios
Hazard Severity
Annual Exceedance Frequency

## Slide 8
Structural/Component Performance
Failure Modes
Hazard-Induced Failure Mechanisms
Failure Effects
Identification of failure modes/mechanisms/effects
Fragility Representation
Hazard Severity ()

## Slide 9
Offsite Factors
Offsite Power
Status & Timing
Regional Effects
Conditional Probability Assessment

## Slide 10
Initiating Events
Hazard-Induced Initiating Event Occurrence
Type/Characteristics/Timing
Frequency or Conditional Probability Assessment

## Slide 11
Plant response
Organizational Response
Equipment Response
Human and Human-Equipment Response
Human and Equipment Failure Event Identification
Human Error & Equipment Failure Probability Assessment
Scenario Definition and Modeling

## Slide 12: Assessment of Taxonomy
Leveraging work of Nickerson, et al (2013) and Reilly, et al (2021)
Concise
Robust
Comprehensive
Extendible
Explanatory
Useful Taxonomy

## Slide 13
Contributors:
Michelle Bensi (UMD) ● Somayeh Mohammadi (UMD) ● Nilanjana Ghosh (UMD)
Tao Liu (VCU) ● Camille Levine (UMD) ● Ahmad Al-Douri (UMD) ●
Ray Schneider (WEC) ● Zeyun Wu (VCU) ● Katrina Groth (UMD) ● Zhegang Ma (INL)
This research is supported by a research grant from the Department of Energy's Nuclear Energy University Program (NEUP) under grant/cooperative agreement DE-NE0008974.
Any opinions, findings, and conclusions expressed in this paper/presentation are those of the authors and do not necessarily reflect the views of the funding agency or any other organization.
The authors acknowledge and appreciate the valuable insights provided by subject matter experts who have engaged with the project team over the course of the project to date.
Questions?