## Slide 1
Risk-Informed Physical Security Assessment for Nuclear Power Plants
2022 PSAM 16 - Honolulu, HI
July 1, 2022
Vaibhav Yadav
Senior Scientist
Nuclear Safety and Regulatory Research Division

## Slide 2: Motivation
Physical security at commercial NPPs is highly labor intensive
  nearly 20% of the entire workforce at several NPPs
Current methods for physical security assessment are static and binary (success/fail)
Current regulations for physical security are prescriptive
US NRC, 10 CFR 73.55: Requirements for physical protection of licensed activities in nuclear power reactors against radiological sabotage

## Slide 3: Objectives of Risk-informed Physical Security
Current Security
Risk-informed Security
Binary Assessment
Labor Intensive Posture
Prescriptive Regulation
Consequence-based Assessment
Staff Reduction Evaluation
Risk-informed Performance-based Regulation

## Slide 4: Current Security Assessment
Security Analysis Timeline: Current Approach
Limitations
Binary
Subjective
Not connected to plant safety

## Slide 5: Risk-informed Consequence-based Security

## Slide 6: Risk-informed Consequence-based Security
Security Analysis Timeline: Consequence-based Assessment

## Slide 7: Risk-informed Consequence-based Security

## Slide 8: Risk-informed Consequence-based Security
Goes beyond success/fail
Provides quantitative insights
Can address subjectivity
Number of Surviving Adversaries
Number of Remaining EDGs
Total Responder Casualties
Configuration Comparison

## Slide 10: Risk-informed Performance-based Regulation
Risk of radiological sabotage decrease over time following the initiation of an attack due to
  Operation action
  Physical protection program activated
  Adversary attrition and/or resource depletion
SECY-20-0070: Technical Evaluation of the Security Bounding Time Concept for Operating Nuclear Power Plants

## Slide 11: Risk-informed Performance-based Regulation
RAPT: Reasonable Assurance of Protection Time
  A concept that considers the many existing layers of protection that would provide reasonable assurance that the licensee can independently defend against the DBT
  Licensee can better focus on protecting more risk-significant target set elements
  Ability to take credit for operator actions that could be performed after the RAPT
SECY-20-0070: Technical Evaluation of the Security Bounding Time Concept for Operating Nuclear Power Plants

## Slide 12: Summary
Current efforts at INL are utilizing risk-informed security for
  Optimizing security posture at current fleet
  Crediting Flex in plant specific postures
  Developing guidance with utilities
  Designing security posture for AR
Need for stakeholders to develop consensus on adoption of SBT-RAPT