## Slide 1
In collaboration with
A convex multi-objective optimization method for reliability allocation in fault tree analysis

## Slide 2
A nuclear powerplant from the perspective of PSA
Initiating events
Consequences
Reliabilities of barriers

## Slide 3
A nuclear powerplant from the perspective of PSA
Initiating events
Consequences
Designers role is to adjust these
Acceptable consequences

## Slide 4
A nuclear powerplant from the perspective of PSA
What vector satisfies all criteria?
Is there an optimal
Acceptance criteria for the th consequence

## Slide 5
Convex optimization
Minimum
Convex function
Convex optimization minimizes convex functions over convex sets.
Objective function
Constraint function
In plain English, the goal is to find the value of that produces the smallest value for while still satisfying some constraint
Can the results of a PSA model be made convex?
Decision variable

## Slide 6
Logarithmic representation
Sums of cutsets are posynomials, neither convex nor concave
Solution: we perform a logarithmic transformation!
Each cutset can, through the exponential product rule, be turned into a sum, so the cutset list can be represented by
Log of initiator frequences
Matrix to select which barriers belong to each cutset
Log of barrier failure probabilities
The sum of cutsets is then
The logarithm of this is called LogSumExp (LSE) function and is convex!

## Slide 7
Potential uses
A convex representation of the results of a PSA model allows for efficient convex optimization in general. Risk can be efficiently framed as a geometric problem!
The general class of questions of the form:
What is the optimal way of changing some set of systems to satisfy some constraints?
can be systematised with this framework, such as risk-informed trade-off studies, lifecycle optimization and design optimization.
Here we present one example of how it could be used, specifically:
  Produce risk-informed reliability targets for barrier systems based on selected objectives while satisfying core damage frequency acceptance criteria.

## Slide 8
Cost criterion
What is the largest (the lowest reliability/cheapest systems) we can accept to satisfy all criteria?
Naïve solution: Find the smallest vector that satisfies all criteria
The problem? Trivial solutions where or infinitely reliable or unreliable systems. Some sequences carry disproportionate risk.
The more reliable a system The more the system costs
Reliability minimizing objective function:
In the log-representation larger means a smaller .

## Slide 9
Risk-spread criterion
Balanced Risk Profile: High-probability events must have negligible consequences; serious events must have very low probability.
Fractional contribution: The contribution of a cutset (sequence) frequency to the total frequency
Criterion: there should be no “extreme” contributions from cutsets, risk should be “evenly” spread out across cutsets
Fractional contribution in logarithmic representation:
Fun fact: This is the same form as the Gibbs measure in statistical mechanics i.e. the probability of the system being in state . It is also the gradient of the LSE function.
Minimizing the difference between each spreading out fractional contribution across cutsets
Risk-spreading objective function:
The of the squared -norm affects selection; greater punishes larger differences in fractional contribution. When it is proportional to statistical Variance of .

## Slide 10
Reliability-spread criterion
The risk-spread criterion spreads risk out across cutsets but it can still produce extreme reliabilities barriers could have (infinitely reliable) or (useless).
Criterion: there should be no “extreme” reliabilities i.e. reliability should be “evenly” spread out amongst the barriers.
Minimizing the difference between each spreading out reliability across barriers
Reliability-spreading objective function:

## Slide 11
Multi-objective optimization
We want to find a reasonable trade-off between spreading out risk across cutsets and spreading out reliability across barriers.
The final objective function
Risk-spread objective
Reliability-spread objective
The parameter lets us choose how much we want to prioritise each objective. only risk-spread is prioritised only reliability-spread is prioritised
“Maximize the objective such that the frequency is less than the acceptance criteria”
is used to select the solution with lowest reliability!

## Slide 12
Example of optimization – Barrier failure probability distributions
Each barrier is assigned a rank for least reliable (1) and most reliable (19)
Maximal reliability spread
Minimal risk spread
: Minimal reliability spread Maximal risk spread

## Slide 13
Example of optimization – Fractional contribution distributions
Maximal reliability spread
Minimal risk spread
: Minimal reliability spread Maximal risk spread

## Slide 14
Summary
We have shown that the results of PSA fault tree model admit a convex representation through a logarithmic transformation.
PSA fault tree models can be optimised using convex optimization
As a proof of concept, we have formulated and solved a convex optimization problem to derive reliability targets for system barriers that minimize overall reliability requirements while satisfying acceptance criteria and balancing both risk across cutsets and reliability across barriers.

## Slide 15
Sebastian Jovancic
Consultant
+46 70 05 800 31
Sebastian.Jovancic@vysusgroup.com